## Panel BOM
[5 empty] | sr | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39
[5 empty] | ID_Module | 1-0-0-1-1-0 | 0-1-1-1-1-1 | 1-0-0-2-1-0 | 0-1-0-2-1-0 | 0-1-1-2-2-1 | 0-1-1-2-1-1 | 1-1-1-2-1-2 | 0-2-1-2-2-2 | 1-1-1-2-2-2 | 1-1-1-3-2-2 | 1-1-1-3-3-2 | 1-1-1-3-2-1 | 0-2-1-3-2-2 | 1-1-1-3-1-2 | 1-1-1-4-1-0 | 0-2-1-4-2-3 | 1-2-1-3-3-3 | 0-2-1-4-2-2 | 0-2-1-4-3-3 | 1-1-1-5-1-0 | 0-2-1-5-2-1 | 1-2-1-4-3-3 | 0-3-1-5-3-4 | 0-3-1-5-2-4 | 0-3-2-5-2-4 | 1-2-2-5-2-2 | 1-3-1-5-3-5 | 1-2-1-7-2-2 | 0-2-2-7-1-0 | 0-2-2-8-1-0 | 0-2-2-8-2-0 | 1-2-2-8-1-0 | 0-3-2-8-2-1 | 1-2-2-9-1-0 | 0-5-1-8-2-6 | 0-3-2-10-1-0 | 0-4-2-11-2-2 | 0-4-2-13-1-0 | 1-4-3-15-1-0 | SPARE PANEL
[5 empty] | IO Module Qty. | 2 | 3 | 3 | 3 | 5 | 4 | 5 | 6 | 6 | 7 | 7 | 7 | 7 | 6 | 7 | 8 | 8 | 8 | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 11 | 12 | 11 | 12 | 12 | 13 | 14 | 14 | 15 | 15 | 18 | 19 | 23 | 24 |  | W/O spare | With spare | Unit Price | [6 empty] | Total Price With Spare
[6 empty] | 51 | 16 | 4 | 4 | 79 | 6 | 10 | 4 | 3 | 32 | 5 | 3 | 3 | 3 | 12 | 5 | 2 | 1 | 1 | 6 | 3 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 1 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 10 |  | W/O spare | With spare | Unit Price | [6 empty] | Total Price With Spare
Item | Manufacturer | Width | Height | Consumed DC Current(mA) | Part no. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | USD Foreign | USD Local | EURO Foreign | Euro Local | EGP | Service EGP |  | USD Foreign | USD Local | EURO Foreign | Euro Local | EGP | Service EGP
PLC component | [55 empty] | 0 | 0 | 1156073.71 | 0 | 0 | 0
Controller PFC200; 2nd Generation; 2 x ETHERNET, RS-232/-485; Extreme | Wago | 78.6 | 100 | 550 | 750-8212/040-000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 530.46 |  |  |  |  | 0 | 0 | 152242.02 | 0 | 0 | 0
Memory Card | Wago | 0 | 0 | 0 | 758-879/000-2108 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 56.7 |  |  |  |  | 0 | 0 | 16272.9 | 0 | 0 | 0
RS-232/485 Serial Interface; Extreme | Wago | 12 | 100 | 85 | 750-652/040-000 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 10 | 152 | 162 |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Runtime; DNP3 Slave; Single License; Online activation | Wago | 0 | 0 | 0 | 2759-2290/211-1000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 104.58 |  |  |  |  | 0 | 0 | 30014.46 | 0 | 0 | 0
IO
8-channel digital input; 24 VDC; 3 ms; Extreme | Wago | 12 | 100 | 17 | 750-430/040-000 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 10 | 141 | 151 |  |  | 60.06 |  |  |  |  | 0 | 0 | 9069.06 | 0 | 0 | 0
16-channel digital input; 24 VDC; 3 ms; Extreme | Wago | 12 | 100 | 25 | 750-1405/040-000 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 3 | 3 | 3 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 5 | 3 | 4 | 4 | 4 | 5 | 50 | 283 | 333 |  |  | 106.47 |  |  |  |  | 0 | 0 | 35454.51 | 0 | 0 | 0
8-channel digital output; 24 VDC; 0.5 A; 2-conductor connection; Extreme | Wago | 12 | 100 | 20 | 750-1515/040-000 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 3 | 3 | 30 | 237 | 267 |  |  | 73.71 |  |  |  |  | 0 | 0 | 19680.57 | 0 | 0 | 0
4-channel analog input; 4 … 20 mA; Single-ended; Extreme | Wago | 12 | 100 | 65 | 750-455/040-000 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 3 | 4 | 4 | 5 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | 7 | 7 | 8 | 8 | 8 | 8 | 9 | 8 | 10 | 11 | 13 | 15 | 15 | 150 | 745 | 895 |  |  | 175.14 |  |  |  |  | 0 | 0 | 156750.3 | 0 | 0 | 0
End Module; Extreme | Wago | 12 | 100 | 0 | 750-600/040-000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 449 |  |  | 13.86 |  |  |  |  | 0 | 0 | 6223.14 | 0 | 0 | 0
HMI & Communication
Web Panel 400; 17.8 cm (7.0"); 1024 x 600 pixels; Web Panel | Wago | 0 | 0 | 200 | 762-3403 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 450 |  |  |  |  | 0 | 0 | 129150 | 0 | 0 | 0
Industrial-ECO-Switch; 5-port 100Base-TX; black | Wago | 23.4 | 109.2 | 200 | 852-111/000-001 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 65 |  |  |  |  | 0 | 0 | 18655 | 0 | 0 | 0
MIRO-L200 Industrial cellular router with NAT, VPN, firewall, 2 Ethernet | INSYS icom |  |  | 0 | 8012-0099/0000-1145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 390 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Antenna 10022961 ,Compact premium antenna for screw or wall | INSYS icom |  |  | 0 | 8000-099/000-2992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 60 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Multimeter
3-Phase Power Measurement Module; 3x277/480 V/1 A; Modbus RTU | Wago | 72 | 90 | 0 | 2857-570/024-001 | 0 | 1 | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 0 | 3 | 3 | 2 | 3 | 0 | 1 | 3 | 4 | 4 | 4 | 2 | 5 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 6 | 0 | 2 | 0 | 0 | 6 | 60 | 290 | 350 |  |  | 150 |  |  |  |  | 0 | 0 | 52500 | 0 | 0 | 0
Split-core current transformer; Primary rated current: 100 A; Secondary rated current: 1 A | Wago |  |  | 0 | 855-4001/100-001 | 0 | 3 | 0 | 0 | 3 | 3 | 6 | 6 | 6 | 6 | 6 | 3 | 6 | 6 | 0 | 9 | 9 | 6 | 9 | 0 | 3 | 9 | 12 | 12 | 12 | 6 | 15 | 6 | 0 | 0 | 0 | 0 | 3 | 0 | 18 | 0 | 6 | 0 | 0 | 18 | 180 | 870 | 1050 |  |  | 70 |  |  |  |  | 0 | 0 | 73500 | 0 | 0 | 0
RTU
Fieldbus Coupler Modbus TCP; 4th generation; Extreme | Wago | 49.5 | 96.8 | 350 | 750-362/040-000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 15 | 25 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
Power Supply; 24 VDC; Extreme | Wago | 12 | 100 |  | 750-602/040-000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 15 | 25 |  |  | 27.81 |  |  |  |  | 0 | 0 | 695.25 | 0 | 0 | 0
End Module; Extreme | Wago | 12 | 100 |  | 750-600/040-000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 15 | 25 |  |  | 13.86 |  |  |  |  | 0 | 0 | 346.5 | 0 | 0 | 0
Power Supply
power supply with integrated charger; 24 VDC output voltage; 5 A output; | Wago | 60 | 127 |  | 787-1675 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 20 | 292 | 312 |  |  | 160 |  |  |  |  | 0 | 0 | 49920 | 0 | 0 | 0
Pure Lead Battery Module; 24 VDC input voltage; Capacity: 13 Ah; with battery control | Wago |  |  |  | 787-878/001-3000 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 2 | 2 | 2 | 4 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 40 | 584 | 624 |  |  | 650 |  |  |  |  | 0 | 0 | 405600 | 0 | 0 | 0
Panel Accessories (Relays, terminal block,MCB, Fuses, …etc) | [55 empty] | 0 | 98963.61 | 325097.8367 | 0 | 0 | 0
Relays, 24VDC, 1CO | WAGO | 6 | 94 | 10 | 857-304 | 8 | 16 | 8 | 16 | 16 | 16 | 24 | 32 | 24 | 24 | 24 | 24 | 32 | 24 | 24 | 32 | 40 | 32 | 32 | 24 | 32 | 40 | 48 | 48 | 48 | 40 | 56 | 40 | 32 | 32 | 32 | 40 | 48 | 40 | 80 | 48 | 64 | 64 | 72 | 88 | 880 | 5656 | 6536 |  |  | 3 |  |  |  |  | 0 | 0 | 19608 | 0 | 0 | 0
Relays, 24VDC, 1CO with manual operation | WAGO | 15 | 86 | 17 | 788-341 | 0 | 8 | 0 | 0 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 16 | 16 | 8 | 8 | 16 | 16 | 16 | 16 | 16 | 16 | 8 | 16 | 16 | 16 | 24 | 24 | 240 | 1896 | 2136 |  |  | 4 |  |  |  |  | 0 | 0 | 8544 | 0 | 0 | 0
Terminal Blocks, Feed through for 10mm 2wire | WAGO | 10 | 67.8 |  | 2010-1201 | 2 | 6 | 2 | 2 | 6 | 6 | 10 | 10 | 10 | 10 | 10 | 6 | 10 | 10 | 2 | 14 | 14 | 10 | 14 | 2 | 6 | 14 | 18 | 18 | 18 | 10 | 22 | 10 | 2 | 2 | 2 | 2 | 6 | 2 | 26 | 2 | 10 | 2 | 2 | 26 | 260 | 1714 | 1974 |  |  | 1.9 |  |  |  |  | 0 | 0 | 3750.6 | 0 | 0 | 0
Earth Terminal Blocks for 10mm2 wire | WAGO | 10 | 67.8 |  | 2010-1207 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 3.5 |  |  |  |  | 0 | 0 | 1004.5 | 0 | 0 | 0
Double-deck terminal block MARSHALLING | WAGO | 5.2 | 69.7 |  | 2002-2201 | 8 | 28 | 8 | 16 | 28 | 28 | 40 | 48 | 40 | 40 | 40 | 36 | 48 | 40 | 32 | 52 | 60 | 48 | 52 | 32 | 44 | 60 | 72 | 72 | 80 | 64 | 84 | 56 | 48 | 48 | 48 | 56 | 68 | 56 | 112 | 64 | 88 | 80 | 96 | 136 | 1360 | 8712 | 10072 |  |  | 0.5 |  |  |  |  | 0 | 0 | 5036 | 0 | 0 | 0
Terminal Blocks, Feed through for 2.5mm2 wire | WAGO | 5.2 | 48.5 |  | 2002-1201 | 6 | 6 | 6 | 6 | 8 | 7 | 8 | 9 | 9 | 10 | 10 | 10 | 10 | 9 | 9 | 10 | 11 | 10 | 10 | 10 | 11 | 14 | 15 | 15 | 15 | 15 | 16 | 16 | 11 | 12 | 12 | 13 | 17 | 14 | 19 | 17 | 20 | 20 | 23 | 25 | 250 | 2389 | 2639 |  |  | 0.18 |  |  |  |  | 0 | 0 | 475.02 | 0 | 0 | 0
Terminal Blocks, Feed through for 2.5mm2 wire MARSHALLING | WAGO | 5.2 | 48.5 |  | 2002-1201 | 4 | 4 | 8 | 8 | 9 | 8 | 8 | 9 | 9 | 13 | 13 | 13 | 13 | 12 | 16 | 1 | 1 | 1 | 1 | 20 | 1 | 17 | 21 | 21 | 21 | 21 | 21 | 29 | 0 | 0 | 0 | 0 | 33 | 0 | 33 | 40 | 45 | 52 | 60 | 61 | 610 | 2648 | 3258 |  |  | 0.18 |  |  |  |  | 0 | 0 | 586.44 | 0 | 0 | 0
Fused Terminals (Fuse Holders) for 2.5mm2 wire | WAGO | 6.2 | 66.1 |  | 2002-1611 | 11 | 11 | 12 | 11 | 12 | 12 | 15 | 14 | 15 | 16 | 16 | 16 | 15 | 16 | 17 | 16 | 18 | 16 | 16 | 19 | 18 | 23 | 24 | 24 | 25 | 26 | 27 | 27 | 21 | 22 | 22 | 25 | 28 | 27 | 31 | 31 | 34 | 37 | 43 | 45 | 450 | 4011 | 4461 |  |  | 1 |  |  |  |  | 0 | 0 | 4461 | 0 | 0 | 0
Fused Terminals (Fuse Holders) for 2.5mm2 wire Marshllng | WAGO | 6.2 | 66.1 |  | 2002-1611 | 5 | 5 | 9 | 9 | 11 | 9 | 10 | 12 | 12 | 16 | 16 | 16 | 16 | 14 | 18 | 4 | 5 | 4 | 4 | 22 | 4 | 21 | 25 | 25 | 25 | 25 | 26 | 33 | 2 | 2 | 2 | 3 | 37 | 3 | 39 | 43 | 50 | 56 | 65 | 68 | 680 | 3224 | 3904 |  |  | 1 |  |  |  |  | 0 | 0 | 3904 | 0 | 0 | 0
Double-deck fuse terminal block; | WAGO | 6.2 | 93 |  | 2002-2612 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 12 | 16 | 16 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 32 | 32 | 32 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 484 | 484 |  |  | 3 |  |  |  |  | 0 | 0 | 1452 | 0 | 0 | 0
Analog Isolator | WAGO | 6 | 94 | 40 | 857-452 | 2 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 6 | 6 | 6 | 6 | 6 | 8 | 8 | 6 | 8 | 8 | 10 | 10 | 8 | 10 | 10 | 10 | 10 | 10 | 14 | 14 | 16 | 16 | 16 | 16 | 18 | 16 | 20 | 22 | 26 | 30 | 30 | 300 | 1490 | 1790 |  |  | 70 |  |  |  |  | 0 | 0 | 125300 | 0 | 0 | 0
Surge protection for analog signals | WAGO | 6 | 91 |  | 792-800 | 2 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 6 | 6 | 6 | 6 | 6 | 8 | 8 | 6 | 8 | 8 | 10 | 10 | 8 | 10 | 10 | 10 | 10 | 10 | 14 | 14 | 16 | 16 | 16 | 16 | 18 | 16 | 20 | 22 | 26 | 30 | 30 | 300 | 1490 | 1790 |  |  | 70 |  |  |  |  | 0 | 0 | 125300 | 0 | 0 | 0
Panel Service Socket | Schneider or Equ. |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  | 6.19 | [5 empty] | 0 | 1776.53 | 0 | 0 | 0 | 0
Pilot lamps | Schneider or Equ. |  |  |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 0 | 0 | 0 | 1100 | 1100 |  | 17.5 | [5 empty] | 0 | 19250 | 0 | 0 | 0 | 0
iPRD40r modular surge arrester - 1P + N - 350V | Schneider | 36 | 85 |  | A9L40500 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  | 150 | [5 empty] | 0 | 43050 | 0 | 0 | 0 | 0
MCB, 2-pole 16A AC | Schneider/Siemens/Hager | 36 | 85 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  | 18.2 | [5 empty] | 0 | 5223.4 | 0 | 0 | 0 | 0
MCB, 2-pole 6A AC | Schneider/Siemens/Hager | 36 | 85 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 40 | 1108 | 1148 |  | 21.5 | [5 empty] | 0 | 24682 | 0 | 0 | 0 | 0
Relay and Isolator Labels | WAGO |  |  |  | 2009-115 | 0.0066667 | 0.017333 | 0.008 | 0.013333 | 0.018667 | 0.018667 | 0.024 | 0.029333 | 0.024 | 0.025333 | 0.025333 | 0.025333 | 0.030667 | 0.025333 | 0.026667 | 0.032 | 0.036 | 0.032 | 0.032 | 0.028 | 0.033333 | 0.037333 | 0.044 | 0.044 | 0.049333 | 0.044 | 0.049333 | 0.041333 | 0.041333 | 0.042667 | 0.042667 | 0.048 | 0.053333 | 0.049333 | 0.069333 | 0.056 | 0.068 | 0.070667 | 0.084 | 0.094667 | 0.94667 | 6.028 | 6.9747 |  |  | 25 |  |  |  |  | 0 | 0 | 174.3667 | 0 | 0 | 0
Relay Cross connector (1 with 10 pins for each 10 relays) | WAGO |  |  |  | 859-410 | 7 | 9 | 7 | 9 | 9 | 9 | 10 | 12 | 10 | 10 | 10 | 10 | 12 | 10 | 10 | 12 | 13 | 12 | 12 | 10 | 12 | 13 | 15 | 15 | 15 | 13 | 17 | 13 | 12 | 12 | 12 | 13 | 15 | 13 | 21 | 15 | 18 | 18 | 20 | 23 | 230 | 2655 | 2885 |  |  | 1.5 |  |  |  |  | 0 | 0 | 4327.5 | 0 | 0 | 0
Jumper; for jumper slot; 8-way; insulated; light gray for realy with manual operation | WAGO |  |  |  | 788-117 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 3 | 3 | 30 | 237 | 267 |  |  | 1.5 |  |  |  |  | 0 | 0 | 400.5 | 0 | 0 | 0
Terminal Block Cover for Feed through 10mm2 | WAGO |  |  |  | 2010-1291 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 0.5 |  |  |  |  | 0 | 0 | 143.5 | 0 | 0 | 0
Terminal Block Cover for Feed through 2.5 mm2 | WAGO |  |  |  | 2002-1291 | 10 | 15 | 12 | 14 | 17 | 17 | 20 | 23 | 21 | 23 | 23 | 22 | 25 | 22 | 22 | 20 | 22 | 19 | 20 | 24 | 18 | 30 | 35 | 35 | 37 | 33 | 38 | 35 | 18 | 18 | 18 | 20 | 40 | 20 | 51 | 42 | 51 | 52 | 61 | 72 | 720 | 5163 | 5883 |  |  | 0.2 |  |  |  |  | 0 | 0 | 1176.6 | 0 | 0 | 0
Terminal Block Cross Connector (1 with 10 pins for each 10 TBs) | WAGO |  |  |  | 2002-410 | 7 | 9 | 7 | 8 | 10 | 10 | 11 | 12 | 11 | 12 | 12 | 11 | 13 | 12 | 11 | 14 | 14 | 13 | 14 | 12 | 13 | 15 | 17 | 17 | 17 | 16 | 18 | 16 | 15 | 15 | 15 | 16 | 17 | 17 | 23 | 18 | 21 | 21 | 24 | 29 | 290 | 2943 | 3233 |  |  | 3.5 |  |  |  |  | 0 | 0 | 11315.5 | 0 | 0 | 0
Fused Terminal Cross Connector (1 with 10 pins for each 10 TBs) | WAGO |  |  |  | 2004-410 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 50 | 1385 | 1435 |  |  | 3.75 |  |  |  |  | 0 | 0 | 5381.25 | 0 | 0 | 0
Terminal Block Label (considered to be the same as Fuse holder Label) | WAGO |  |  |  | 2009-115 | 0.016667 | 0.03 | 0.017333 | 0.022 | 0.032 | 0.031333 | 0.042 | 0.047333 | 0.042667 | 0.044 | 0.044 | 0.041333 | 0.048667 | 0.043333 | 0.038667 | 0.052 | 0.059333 | 0.049333 | 0.052 | 0.040667 | 0.048667 | 0.064667 | 0.074 | 0.074 | 0.08 | 0.07 | 0.084667 | 0.066 | 0.053333 | 0.054667 | 0.054667 | 0.062667 | 0.075333 | 0.064667 | 0.108 | 0.074667 | 0.094667 | 0.091333 | 0.108 | 0.13733 | 1.3733 | 10.0747 | 11.448 |  |  | 25 |  |  |  |  | 0 | 0 | 286.2 | 0 | 0 | 0
Terminal End Stop (Terminal lock) | WAGO | 6 | 44 |  | 249-116 | 10 | 15 | 12 | 14 | 17 | 17 | 20 | 23 | 21 | 23 | 23 | 22 | 25 | 22 | 22 | 20 | 22 | 19 | 20 | 24 | 18 | 30 | 35 | 35 | 37 | 33 | 38 | 35 | 18 | 18 | 18 | 20 | 40 | 20 | 51 | 42 | 51 | 52 | 61 | 72 | 720 | 5163 | 5883 |  |  | 0.2 |  |  |  |  | 0 | 0 | 1176.6 | 0 | 0 | 0
Group marker carrier, gray | WAGO |  |  |  | 249-119 | 10 | 15 | 12 | 14 | 17 | 17 | 20 | 23 | 21 | 23 | 23 | 22 | 25 | 22 | 22 | 20 | 22 | 19 | 20 | 24 | 18 | 30 | 35 | 35 | 37 | 33 | 38 | 35 | 18 | 18 | 18 | 20 | 40 | 20 | 51 | 42 | 51 | 52 | 61 | 72 | 720 | 5163 | 5883 |  |  | 0.2 |  |  |  |  | 0 | 0 | 1176.6 | 0 | 0 | 0
Terminal Group Label | WAGO |  |  |  | 210-808 | 0.0066667 | 0.01 | 0.008 | 0.0093333 | 0.011333 | 0.011333 | 0.013333 | 0.015333 | 0.014 | 0.015333 | 0.015333 | 0.014667 | 0.016667 | 0.014667 | 0.014667 | 0.013333 | 0.014667 | 0.012667 | 0.013333 | 0.016 | 0.012 | 0.02 | 0.023333 | 0.023333 | 0.024667 | 0.022 | 0.025333 | 0.023333 | 0.012 | 0.012 | 0.012 | 0.013333 | 0.026667 | 0.013333 | 0.034 | 0.028 | 0.034 | 0.034667 | 0.040667 | 0.048 | 0.48 | 3.442 | 3.922 |  |  | 30 |  |  |  |  | 0 | 0 | 117.66 | 0 | 0 | 0
Glass Fuses 5A | Local |  |  |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 20 | 554 | 574 |  | 0.04 | [5 empty] | 0 | 22.96 | 0 | 0 | 0 | 0
Glass Fuses 1A | Local |  |  |  |  | 4 | 5 | 5 | 5 | 6 | 6 | 7 | 7 | 7 | 8 | 8 | 8 | 8 | 8 | 9 | 9 | 9 | 9 | 9 | 10 | 10 | 10 | 11 | 11 | 12 | 12 | 12 | 13 | 13 | 14 | 14 | 15 | 15 | 16 | 16 | 17 | 19 | 21 | 25 | 26 | 260 | 1960 | 2220 |  | 0.04 | [5 empty] | 0 | 88.8 | 0 | 0 | 0 | 0
Glass Fuses 0.5A | Local |  |  |  |  | 3 | 4 | 4 | 4 | 5 | 5 | 6 | 6 | 6 | 7 | 7 | 7 | 7 | 7 | 8 | 8 | 8 | 8 | 8 | 9 | 9 | 9 | 10 | 10 | 11 | 11 | 11 | 12 | 12 | 13 | 13 | 14 | 14 | 15 | 15 | 16 | 18 | 20 | 24 | 25 | 250 | 1683 | 1933 |  | 0.04 | [5 empty] | 0 | 77.32 | 0 | 0 | 0 | 0
Glass Fuses 0.1A | Local |  |  |  |  | 4 | 4 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 12 | 12 | 12 | 12 | 12 | 16 | 16 | 12 | 16 | 16 | 20 | 20 | 16 | 20 | 20 | 20 | 20 | 20 | 28 | 28 | 32 | 32 | 32 | 32 | 36 | 32 | 40 | 44 | 52 | 60 | 60 | 600 | 2980 | 3580 |  | 0.04 | [5 empty] | 0 | 143.2 | 0 | 0 | 0 | 0
Earth Bars | Local |  |  |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 20 | 554 | 574 |  | 2.5 | [5 empty] | 0 | 1435 | 0 | 0 | 0 | 0
Ethernet Cables CAT6, 2m | Local |  |  |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 40 | 1108 | 1148 |  | 2.8 | [5 empty] | 0 | 3214.4 | 0 | 0 | 0 | 0
UPS Panel | [55 empty] | 0 | 0 | 102252.36 | 0 | 0 | 0
AX Compact enclosure, WHD: 380x600x210 mm, sheet steel | Rittal |  |  |  | 1038000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 162.6 |  |  |  |  | 0 | 0 | 46666.2 | 0 | 0 | 0
Panel Fan and Filter | Rittal |  |  |  | 3243700 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 193.68 |  |  |  |  | 0 | 0 | 55586.16 | 0 | 0 | 0
Intermediate Panel | [55 empty] | 0 | 717.5 | 201202.86 | 0 | 0 | 0
Enclosure WHD:800x1000x300 mm GRP | Rittal |  |  |  | 1480000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 20 | 294 | 314 |  |  | 613.33 |  |  |  |  | 0 | 0 | 192585.62 | 0 | 0 | 0
Terminal Blocks, Feed through for 2.5mm2 wire | WAGO |  |  |  | 2002-1201 | 24 | 56 | 32 | 48 | 64 | 64 | 80 | 96 | 80 | 88 | 88 | 88 | 104 | 88 | 96 | 112 | 120 | 112 | 112 | 104 | 120 | 128 | 152 | 152 | 168 | 152 | 168 | 152 | 152 | 160 | 160 | 176 | 192 | 184 | 240 | 208 | 248 | 264 | 312 | 344 | 3440 | 21064 | 24504 |  |  | 0.18 |  |  |  |  | 0 | 0 | 4410.72 | 0 | 0 | 0
Terminal Block Cover for Feed through 2.5 mm2 | WAGO |  |  |  | 2002-1291 | 6 | 14 | 8 | 12 | 16 | 16 | 20 | 24 | 20 | 22 | 22 | 22 | 26 | 22 | 24 | 28 | 30 | 28 | 28 | 26 | 30 | 32 | 38 | 38 | 42 | 38 | 42 | 38 | 38 | 40 | 40 | 44 | 48 | 46 | 60 | 52 | 62 | 66 | 78 | 86 | 860 | 5266 | 6126 |  |  | 0.2 |  |  |  |  | 0 | 0 | 1225.2 | 0 | 0 | 0
Terminal Block Label (considered to be the same as Fuse holder Label) | WAGO |  |  |  | 2009-115 | 0.016 | 0.037333 | 0.021333 | 0.032 | 0.042667 | 0.042667 | 0.053333 | 0.064 | 0.053333 | 0.058667 | 0.058667 | 0.058667 | 0.069333 | 0.058667 | 0.064 | 0.074667 | 0.08 | 0.074667 | 0.074667 | 0.069333 | 0.08 | 0.085333 | 0.10133 | 0.10133 | 0.112 | 0.10133 | 0.112 | 0.10133 | 0.10133 | 0.10667 | 0.10667 | 0.11733 | 0.128 | 0.12267 | 0.16 | 0.13867 | 0.16533 | 0.176 | 0.208 | 0.22933 | 2.2933 | 14.0427 | 16.336 |  |  | 25 |  |  |  |  | 0 | 0 | 408.4 | 0 | 0 | 0
Terminal End Stop (Terminal lock) | WAGO |  |  |  | 249-116 | 6 | 14 | 8 | 12 | 16 | 16 | 20 | 24 | 20 | 22 | 22 | 22 | 26 | 22 | 24 | 28 | 30 | 28 | 28 | 26 | 30 | 32 | 38 | 38 | 42 | 38 | 42 | 38 | 38 | 40 | 40 | 44 | 48 | 46 | 60 | 52 | 62 | 66 | 78 | 86 | 860 | 5266 | 6126 |  |  | 0.2 |  |  |  |  | 0 | 0 | 1225.2 | 0 | 0 | 0
Group marker carrier, gray | WAGO |  |  |  | 249-119 | 6 | 14 | 8 | 12 | 16 | 16 | 20 | 24 | 20 | 22 | 22 | 22 | 26 | 22 | 24 | 28 | 30 | 28 | 28 | 26 | 30 | 32 | 38 | 38 | 42 | 38 | 42 | 38 | 38 | 40 | 40 | 44 | 48 | 46 | 60 | 52 | 62 | 66 | 78 | 86 | 860 | 5266 | 6126 |  |  | 0.2 |  |  |  |  | 0 | 0 | 1225.2 | 0 | 0 | 0
Terminal Group Label | WAGO |  |  |  | 210-808 | 0.004 | 0.0093333 | 0.0053333 | 0.008 | 0.010667 | 0.010667 | 0.013333 | 0.016 | 0.013333 | 0.014667 | 0.014667 | 0.014667 | 0.017333 | 0.014667 | 0.016 | 0.018667 | 0.02 | 0.018667 | 0.018667 | 0.017333 | 0.02 | 0.021333 | 0.025333 | 0.025333 | 0.028 | 0.025333 | 0.028 | 0.025333 | 0.025333 | 0.026667 | 0.026667 | 0.029333 | 0.032 | 0.030667 | 0.04 | 0.034667 | 0.041333 | 0.044 | 0.052 | 0.057333 | 0.57333 | 3.5107 | 4.084 |  |  | 30 |  |  |  |  | 0 | 0 | 122.52 | 0 | 0 | 0
Earth Bars | Local |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  | 2.5 | [5 empty] | 0 | 717.5 | 0 | 0 | 0 | 0
Enclosure (PLC) | [55 empty] | 0 | 0 | 301768.0871 | 0 | 0 | 0
Enclosure WHD:800x1000x300 mm GRP | Rittal |  |  |  | 1480000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 20 | 292 | 312 |  |  | 613.33 |  |  |  |  | 0 | 0 | 191358.96 | 0 | 0 | 0
Enclosure WHD:600x800x300 mm GRP | Rittal |  |  |  | 1468000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
SZ Connection cable, Infeed, 2-pole (with socket, without connector) - 5 per set | Rittal |  |  |  | 2500420 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 0.23741 | 2.3741 | 65.7626 | 68.1367 |  |  | 32.9 |  |  |  |  | 0 | 0 | 2241.6971 | 0 | 0 | 0
Wiring plain pocket SZ2514 A4 | Rittal |  |  |  | 2514000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 8.16 |  |  |  |  | 0 | 0 | 2341.92 | 0 | 0 | 0
Panel Fan and Filter | Rittal |  |  |  | 3243700 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 193.68 |  |  |  |  | 0 | 0 | 55586.16 | 0 | 0 | 0
Panel Filter | Rittal |  |  |  | 3243300 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 38.9 |  |  |  |  | 0 | 0 | 11164.3 | 0 | 0 | 0
Panel Thermostat | Rittal |  |  |  | 3110000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 30.77 |  |  |  |  | 0 | 0 | 8830.99 | 0 | 0 | 0
Panel Lamp | Rittal |  |  |  | 2500110 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 69.53 |  |  |  |  | 0 | 0 | 19955.11 | 0 | 0 | 0
Panel Door Switch | Rittal |  |  |  | 2500460 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 277 | 287 |  |  | 35.85 |  |  |  |  | 0 | 0 | 10288.95 | 0 | 0 | 0
[56 empty] | 0 | 99681.11 | 2086394.8538 | 0 | 0 | 0
[55 empty] | Total | 2486962.5807
[57 empty] | Euro | 57.84
[57 empty] | USD | 50.55
[57 empty] | RATE | 1.1442